## Sheet1
			(all incl FCODE)
Function	Sub Func	FCODE	FLEN	RLEN	ELEN	CLEN	MIN CLEN IN RX	RLEN	MIN RLEN IN R RX	Impl	Notes
Read Coils		0x01	5b	2+(n/8+(1))	2b	Fixed	1b	Request	2b	Deferred	Exception if any coil in field is inaccessible
Read Inputs		0x02	5b	2+(n/8+(1))	2b	Fixed	1b	Request	2b	Deferred	Exception if any input in field is inaccessible
Read H Registers		0x03	5b	2+2n	2b	Fixed	1b	Request	2b	Tested	Exception if any register in field is inaccessible
Read I Registers		0x04	5b	2+2n	2b	Fixed	1b	Request	2b	Tested	Exception if any register in field is inaccessible
Write Single Coil		0x05	5b	5b	2b	Fixed	1b	Fixed	1b	Basic	Execption if coil not accessible.
Write Single Reg		0x06	5b	5b	2b	Fixed	1b	Fixed	1b	Tested	Exception if register not accessible
Read Excep Status		0x07	1b	2b	2b	Fixed	1b	Fixed	1b	Basic
Diagnostics	(2 byte SF code)	0x08	1b+2b+(n*2b)	1b+2b+(n*2b)	2b	?	?	?	?
	Return Query Data	0x08 0x0000	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic	Unimplementable without prepending len to data
	Restart Comm	0x08 0x0001	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic
	Return Diagnostic Reg	0x08 0x0002	5b	4b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic
	Change ASCII Inp Delim	0x08 0x0003	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Handled
	Force Listen Only	0x08 0x0004	5b	0b	2b	Fixed	1b+2b	Fixed	0b	Basic	Special States
	Clear cnts and diag reg	0x08 0x000A	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic
	Ret Bus Message Cnt	0x08 0x000B	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic	Assuming 2b counters
	Ret Bus Comm Err Cnt	0x08 0x000C	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic	Assuming 2b counters
	Ret Bus Exc Err Cnt	0x08 0x000D	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic	Assuming 2b counters
	Ret Server Msg Cnt	0x08 0x000E	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic	Assuming 2b counters
	Ret Server Noresp Cnt	0x08 0x000F	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic	Assuming 2b counters
	Ret Server NAK Cnt	0x08 0x0010	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic	Assuming 2b counters
	Ret Server Busy Cnt	0x08 0x0011	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic	Assuming 2b counters
	Ret Bus Char Overrun Cnt	0x08 0x0012	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic	Assuming 2b counters
	Clr Overrun Counter and Flag	0x08 0x0014	5b	5b	2b	Fixed	1b+2b	Fixed	1b+2b	Basic
Get Comm Event Cnt		0x0B	1b	5b	2b	Fixed	1b	Fixed	1b	Basic
Get Comm Event Log		0x0C	1b	8b + ((n-6)*1b)	2b	Fixed	1b	Response	1b+1b	Basic
Write Mulitple Coils		0x0F	6b + (n*1b)	5b	2b	External	1b+5b	Fixed	1b	Deferred
Write Multiple Registers		0x10	6b + (n*2b)	5b	2b	External	1b+5b	Fixed	1b	Tested
Report Server ID		0x11	1b	2b + (n1) + 1b + (n2)	2b	Fixed	1b	Response	1b+1b	TODO	where b2=n1+n2+1
Read File record		0x14	2b + ...	NA	2b	!!	2b	Except	1b	No	Handle gracefully if recieved, somehow
Write File record		0x15	2b + ...	NA	2b	!!	2b	Except	1b	No	Handle gracefully if recieved, somehow
Mask Write Register		0x16	7b	7b	2b	Fixed	1b	Fixed	1b	Basic	Exception if register not accessible
Read / Write Multiple Registers		0x17	6b + (n*2b)	2b + (n*2b)	2b	External	1b+5b	Request	1b+1b	Basic
Read FIFO queue		0x18	3b	5b + (n*2b)	2b	Fixed	1b	Response	1b+2b	Deferred	Should read but not nuke
Encapsulated Interface Transport		0x2B	!!!	!!!	!!!	!!!	!!!	!!!	!!!	Deferred	Fairly Complicated.
	CANOpen	0x2B 0x0D	!!!	!!!	!!!	!!!	!!!	!!!	!!!	No
	Read Device ID	0x2B 0x0E	4b	9b + (n*1b)	2b	Fixed	1b	Response	1b+8b	Deferred	Required

Reserved		0x08 19
		0x08 21 +
		0x09
		0x0A
		0x0D
		0x29
		0x2A
		0x5A
		0x5B
		0x7D
		0x7E
		0x7F
Function Range		0x00-0x80
Errors		FCODE+0x80